## Sheet1
BACnet Points List AcuRev 1310
Object ID | Object Name | Object Description | Object Type
1 | Freq_rms | Frequency | Analog Input
2 | Ua_rms | Phase A Voltage | Analog Input
3 | Ub_rms | Phase B Voltage | Analog Input
4 | Uc_rms | Phase C Voltage | Analog Input
5 | Uavg_rms | Average Voltage | Analog Input
6 | Uab_rms | Line Voltage AB | Analog Input
7 | Ubc_rms | Line Voltage BC | Analog Input
8 | Uca_rms | Line Voltage CA | Analog Input
9 | Ulavg_rms | Average Line Voltage | Analog Input
10 | Ia_rms | Phase A Current | Analog Input
11 | Ib_rms | Phase B Current | Analog Input
12 | Ic_rms | Phase C Current | Analog Input
13 | Iavg_rms | Average Current | Analog Input
14 | In_rms | Neutral Current | Analog Input
15 | Pa_rms | Phase A Active Power | Analog Input
16 | Pb_rms | Phase B Active Power | Analog Input
17 | Pc_rms | Phase C Active Power | Analog Input
18 | P_rms | Total Active Power | Analog Input
19 | Qa_rms | Phase A Reactive Power | Analog Input
20 | Qb_rms | Phase B Reactive Power | Analog Input
21 | Qc_rms | Phase C Reactive Power | Analog Input
22 | Q_rms | Total Reactive Power | Analog Input
23 | Sa_rms | Phase A Apparent Power | Analog Input
24 | Sb_rms | Phase B Apparent Power | Analog Input
25 | Sc_rms | Phase C Apparent Power | Analog Input
26 | S_rms | Total Apparent Power | Analog Input
27 | PFa_rms | Phase A Power Factor | Analog Input
28 | PFb_rms | Phase B Power Factor | Analog Input
29 | PFc_rms | Phase C Power Factor | Analog Input
30 | PF_rms | Total Power Factor | Analog Input
31 | Rlc_val | Load Type | Analog Input
32 | P_dema | Active Power Demand | Analog Input
33 | Q_dema | Reactive Power Demand | Analog Input
34 | S_dema | Apparent Power Demand | Analog Input
35 | Ia_dema | Phase A Current Demand | Analog Input
36 | Ib_dema | Phase B Current Demand | Analog Input
37 | Ic_dema | Phase C Current Demand | Analog Input
38 | P_dema_pre | Active Power Demand Prediction | Analog Input
39 | Q_dema_pre | Reactive Power Demand Prediction | Analog Input
40 | S_dema_pre | Apparent Power Demand Prediction | Analog Input
41 | Ia_dema_pre | Phase A Current Demand Prediction | Analog Input
42 | Ib_dema_pre | Phase B Current Demand Prediction | Analog Input
43 | Ic_dema_pre | Phase C Current Demand Prediction | Analog Input
44 | Temp_val | Temperature of meter | Analog Input
45 | Active_Energy_Imp | Import Active Energy | Analog Input
46 | Active_Energy_Exp | Export Active Energy | Analog Input
47 | Reactive_Energy_Imp | Import Reactive Energy | Analog Input
48 | Reactive_Energy_Exp | Export Reactive Energy | Analog Input
49 | Apparent_Energy_Imp | Import Apparent Energy | Analog Input
50 | Apparent_Energy_Exp | Export Apparent Energy | Analog Input
51 | Active_Energy_Total | Active Energy Total | Analog Input
52 | Active_Energy_Net | Net Energy | Analog Input
53 | Reactive_Energy_Total | Total Reactive Energy | Analog Input
54 | Reactive_Energy_Net | Net Reactive Energy | Analog Input
55 | Active_Energy_Imp_A | Phase A Import Active Energy | Analog Input
56 | Active_Energy_Exp_A | Phase A Export Active Energy | Analog Input
57 | Active_Energy_Imp_B | Phase B Import Active Energy | Analog Input
58 | Active_Energy_Exp_B | Phase B Export Active Energy | Analog Input
59 | Active_Energy_Imp_C | Phase C Import Active Energy | Analog Input
60 | Active_Energy_Exp_C | Phase C Export Active Energy | Analog Input
61 | Reactive_Energy_Imp_Q1 | Reactive Import Energy Q1 | Analog Input
62 | Reactive_Energy_Imp_Q2 | Reactive Import Energy Q2 | Analog Input
63 | Reactive_Energy_Imp_Q3 | Reactive Import Energy Q3 | Analog Input
64 | Reactive_Energy_Imp_Q4 | Reactive Import Energy Q4 | Analog Input
65 | Reactive_Energy_Imp_Q1_A | Phase A Import Reactive Energy Q1 | Analog Input
66 | Reactive_Energy_Imp_Q2_A | Phase A Import Reactive Energy Q2 | Analog Input
67 | Reactive_Energy_Imp_Q3_A | Phase A Import Reactive Energy Q3 | Analog Input
68 | Reactive_Energy_Imp_Q4_A | Phase A Import Reactive Energy Q4 | Analog Input
69 | Reactive_Energy_Imp_Q1_B | Phase B Import Reactive Energy Q1 | Analog Input
70 | Reactive_Energy_Imp_Q2_B | Phase B Import Reactive Energy Q2 | Analog Input
71 | Reactive_Energy_Imp_Q3_B | Phase B Import Reactive Energy Q3 | Analog Input
72 | Reactive_Energy_Imp_Q4_B | Phase B Import Reactive Energy Q4 | Analog Input
73 | Reactive_Energy_Imp_Q1_C | Phase C Import Reactive Energy Q1 | Analog Input
74 | Reactive_Energy_Imp_Q2_C | Phase C Import Reactive Energy Q2 | Analog Input
75 | Reactive_Energy_Imp_Q3_C | Phase C Import Reactive Energy Q3 | Analog Input
76 | Reactive_Energy_Imp_Q4_C | Phase C Import Reactive Energy Q4 | Analog Input
77 | Apparent_Energy_Imp_A | Phase A Import Apparent Energy | Analog Input
78 | Apparent_Energy_Exp_A | Phase A Export Apparent Energy | Analog Input
79 | Apparent_Energy_Imp_B | Phase B Import Apparent Energy | Analog Input
80 | Apparent_Energy_Exp_B | Phase B Export Apparent Energy | Analog Input
81 | Apparent_Energy_Imp_C | Phase C Import Apparent Energy | Analog Input
82 | Apparent_Energy_Exp_C | Phase C Export Apparent Energy | Analog Input
83 | Max_Dema_P_Imp_Current | Current Imported Active Power Demand Peak and Happening Time | Analog Input
84 | Max_Dema_P_Exp_Current | Current Exported Active Power Demand Peak and Happening Time | Analog Input
85 | Max_Dem_P_Imp_Last_Month | Last Month Imported Active Power Demand Peak and Happening Time | Analog Input
86 | Max_Dem_P_Exp_Last_Moth | Last Month Exported Active Power Demand Peak and Happening Time | Analog Input
87 | Dem_Clear_Times | Total Times of Demand Reset | Analog Input
88 | Time_Last_Clear_Dema | Last Demand Reset Happening Time | Analog Input
89 | Time_2nd_Last_Clear_Dema | 2nd Last Demand Reset Happening Time | Analog Input
90 | Time_3rd_Last_Clear_Dema | 3rd Last Demand Reset Happening Time | Analog Input